Towards Automated Sleep Analysis:

Stage Classification and Apnea Prediction

Ye Hong, Vaibhav Thakur, Aiqi Cheng

Erdős Institute Data Science Bootcamp — Spring 2026

# Background & Motivation

- Sleep disorders affect approximately 70 million U.S. adults, with Obstructive Sleep Apnea (OSA) among the most prevalent yet chronically underdiagnosed — linked to cardiovascular disease, cognitive decline, and metabolic disorders.

- Existing automated sleep analysis methods struggle with the complexity of multimodal PSG signals, failing to reliably distinguish all five sleep stages or detect pathological breathing events at scale.

- Consumer smartwatches lack the clinical accuracy needed for meaningful sleep monitoring, leaving a gap between accessibility and reliable diagnosis.

# Objectives

- Develop a multi-class classifier to identify five sleep stages (Wake, N1, N2, N3, REM) in real time from PSG and wearable signals.

- Develop a binary classifier to predict apnea events 10 seconds in advance, enabling a proactive alert system for abnormal breathing events.

# Dataset

- DREAMT dataset (PhysioNet): 100 participants, overnight PSG and Empatica E4 smartwatch recordings at 100 Hz.

- Signals: EEG, EOG, EMG, respiration, cardiac (ECG/IBI), and electrodermal activity (EDA).

- Labels: expert-annotated sleep stages (Wake, N1, N2, N3, REM) and apnea events.

- Subject metadata: age, BMI, AHI severity, medical history etc.

- Train / Validation / Test split: 64% / 16% / 20% across subjects.

# Data Preprocessing

- Data cleaning and one-hot encoding of categorical variables.

- Time-series signals binned into 5-second windows for statistical feature extraction (mean, std, min, max, range).

- Fourier transforms applied to EEG, EOG, and EMG over 25-second windows to extract frequency band power and band ratios.

- All processed features combined with subject metadata to form the final feature set.

# Key Performance Indicators

- Sleep stage classification: Macro F1 score (equal weight across all five stages).

- Apnea event prediction: AUC-ROC, AUC-PR, and threshold-optimized F1 score.

# Exploratory Data Analysis

- Sleep stage distributions showed heavy class imbalance, with N2 dominating and transitional N1 sparsely represented; stage transition analysis highlighted ambiguity at adjacent stage boundaries.

- Apnea class imbalance was pronounced (apnea:no-apnea ≈ 1:7).

- Feature correlation analysis and variance screening reduced the apnea feature set from 127 to 67 informative time-series features.

# Sleep Stage Classification — Modeling & Results

We benchmarked Logistic Regression, XGBoost, LightGBM, and sequence models (LSTM, BiLSTM, CNN) with 227 hand-crafted features per epoch. Gradient boosting methods consistently outperformed neural networks.

| Model | Macro F1 | Weighted F1 | N1 F1 |
| --- | --- | --- | --- |
| XGBoost | 0.668 | 0.795 | 0.359 |
| LightGBM | 0.654 | 0.791 | 0.368 |
| LSTM | 0.592 | 0.697 | 0.332 |
| BiLSTM | 0.567 | 0.676 | 0.291 |
| CNN1D | 0.555 | 0.662 | 0.307 |
| Logistic Regression (baseline) | 0.430 | 0.545 | 0.223 |

After retraining gradient boosting models on train and validation sets, we compared XGBoost, LightGBM, a 50.50 ensemble of two and 50/50 ensemble with majority-vote smoothing on test set. A 50/50 ensemble with majority-vote smoothing achieved the best overall performance.

| Model | Macro F1 | Accuracy |
| --- | --- | --- |
| XGBoost | 0.657 | 0.731 |
| LightGBM | 0.658 | 0.736 |
| Ensemble (XGB + LGB) | 0.659 | 0.735 |
| Ensemble + mode filter (best) | 0.666 | 0.741 |

N2 and Wake were classified most reliably; N1 remained the hardest due to its transitional nature and overlap with neighboring stages. The per-stage breakdown for the best model (Ensemble + mode filter) is shown below.

| Stage | F1 | Precision | Recall |
| --- | --- | --- | --- |
| Wake (W) | 0.828 | 0.808 | 0.849 |
| N1 | 0.419 | 0.364 | 0.492 |
| N2 | 0.839 | 0.908 | 0.780 |
| N3 | 0.649 | 0.708 | 0.600 |
| REM (R) | 0.594 | 0.541 | 0.659 |

# Apnea Event Prediction — Modeling & Results

To identify the most predictive temporal context for apnea onset 10 seconds in advance, features were first ranked by their individual association with the apnea label using two complementary scoring methods: point-biserial correlation (capturing linear relationships) and mutual information (capturing non-linear dependencies). The top 20 features by combined score — drawn primarily from SpO2 dynamics, respiratory effort, and heart rate variability — were selected for lag augmentation.

Lagged copies of these features were appended to each epoch's feature vector at fixed lookback offsets (0s, 25s, 50s, 75s). LightGBM was trained and evaluated separately for each lag configuration to identify the optimal history window.

| Lag Window | AUC-ROC | AUC-PR | F1 |
| --- | --- | --- | --- |
| 0s | 0.810 | 0.396 | 0.439 |
| 25s | 0.799 | 0.385 | 0.430 |
| 50s | 0.820 | 0.416 | 0.451 |
| 75s (best) | 0.825 | 0.430 | 0.460 |

The 75-second lag window yielded the strongest performance across all metrics. This suggests that autonomic and respiratory precursors to apnea onset are most discriminative when captured over a 1–2 minute history, consistent with known physiological lead times for oxygen desaturation and cardiac rate changes preceding obstructive events. Performance dips at the 25-second lag before recovering at 50s and 75s, suggesting that very short-range lags add noise while longer history provides genuinely informative temporal context.

Test Set Results — AUC-ROC: 0.786 | AUC-PR: 0.467 | Accuracy: 0.88

| Class | Precision | Recall | F1 |
| --- | --- | --- | --- |
| No apnea | 0.93 | 0.94 | 0.93 |
| Apnea | 0.54 | 0.50 | 0.52 |
| Macro avg | 0.73 | 0.72 | 0.72 |
| Weighted avg | 0.88 | 0.88 | 0.88 |

# Limitations

- Sleep stage classification is fundamentally constrained by class imbalance and noisy stage boundaries — ambiguity in transitions is inherent even with full PSG measurements.

- The apnea prediction model is limited by a severe class imbalance (1:7 ratio) and a tree-based architecture that does not explicitly model long-range temporal dependencies.

- Models are trained and evaluated on a single dataset (DREAMT); generalizability to other populations and devices remains untested.

# Future Directions

- Improve per-stage discrimination for sleep staging and combine stage-specific models strategically for a more reliable overall system.

- Apply LSTM or Transformer architectures for apnea prediction to better capture long-range temporal dependencies beyond the 75-second lag window.

- Extend to real-time inference on wearable-grade signals and validate across broader patient populations to support clinical deployment.